## README
RTMify — SOUP / Software Components Template
Compliance-Aware Lifecycle Manager · RTMify.io
Standards coverage: |  | IEC 62304 | ISO 13485 | DO-178C | ISO 26262 | AS9100 | ASPICE
WHAT THIS IS
A SOUP (Software of Unknown Provenance) and third-party software component tracking spreadsheet for regulated engineering programs. One tab, one schema. Covers the software component identification, anomaly evaluation, and risk assessment required by IEC 62304 (medical device software), ISO 13485 (medical devices), DO-178C (airborne software), ISO 26262 (automotive functional safety), AS9100 (aerospace quality), and Automotive SPICE. Use it as-is or adapt to your program. If your build system already produces CycloneDX or SPDX JSON, use those — RTMify Live ingests both natively. This template is for teams that track SOUP manually. RTMify Live can sync this sheet directly (read-only). Every row becomes a software BOM node in the traceability graph, linked to your requirements and tests. Validation statuses appear in the Live dashboard — Live does not write to this sheet. See RTMify.io/docs for detailed instructions.
THE TAB
Tab | What goes here | 62304 | 13485 | DO-178C | 26262 | AS9100 | ASPICE
SOUP Components | One row per third-party software component. Libraries, frameworks, RTOS, drivers, bootloaders, middleware — anything your team did not write. A: component_name B: version C: supplier D: category E: license F: purl G: safety_class H: known_anomalies I: anomaly_evaluation J: requirement_ids K: test_ids L: Notes IEC 62304 §8.1.2 requires identification of all SOUP items. §7.1.2/§7.1.3 require anomaly evaluation. ISO 14971 requires risk assessment. This tab satisfies all three in one place. | §7.1/§8.1 | §7.4/§7.5 | §12.3.1 | Pt8 §12 | §8.4 | ACQ.4
COLUMN REFERENCE
Column | Description
component_name | REQUIRED. Name of the software component. e.g. 'FreeRTOS', 'STM32 HAL', 'OpenSSL', 'zlib'. This becomes the 'part' field in the graph.
version | REQUIRED. Version string. e.g. '10.5.1', '1.1.1w', '3.2.0-rc1'. This becomes the 'revision' field in the graph. If unknown, enter 'unknown' — do not leave blank.
supplier | Source or vendor. e.g. 'Amazon/AWS', 'STMicroelectronics', 'github.com/user/repo'. Use the canonical upstream source.
category | Component type. e.g. RTOS, Library, Driver, Bootloader, Middleware, Framework, Tool. Helps filter SOUP by function during risk assessment.
license | SPDX license expression. e.g. 'MIT', 'Apache-2.0', 'GPL-3.0-only', 'BSD-2-Clause', 'Proprietary'. Compound: 'MIT OR Apache-2.0'. Unknown: 'NOASSERTION'.
purl | Package URL (optional). e.g. 'pkg:github/FreeRTOS/FreeRTOS-Kernel@10.5.1'. Enables automated vulnerability matching if present.
safety_class | IEC 62304 software safety class: A (no injury) / B (non-serious injury) / C (serious injury/death). ISO 26262: ASIL QM/A/B/C/D. DO-178C: DAL A/B/C/D/E. Drives verification rigor.
known_anomalies | Known bugs, CVEs, errata for this version. e.g. 'CVE-2023-44487 HTTP/2 rapid reset'. If none known, write 'None known' — do not leave blank. Absence of anomalies must be a documented assertion. IEC 62304 §7.1.2.
anomaly_evaluation | Risk evaluation of each known anomaly. Could it affect safety or effectiveness of your device? e.g. 'Not applicable — HTTP not used', 'Mitigated by REQ-045 watchdog'. IEC 62304 §7.1.3. Blank = audit finding.
requirement_ids | Requirement IDs this component traces to. Comma-separated. e.g. 'REQ-012, REQ-045'. Which requirements depend on this SOUP item?
test_ids | Test Group or Test IDs that verify this component's integration. Comma-separated. e.g. 'TG-003, T-015'. How do you verify this SOUP works in your system?
Notes | Free text. Integration notes, build flags, vendor doc links, approval records. Not stored in the graph — human context only.
VALIDATION STATUSES (Dashboard Only)
RTMify Live does not write to this spreadsheet. Validation statuses appear in the Live dashboard and MCP only. The statuses below describe what Live detects when it reads this sheet — use them as a manual checklist if using standalone.
Status | Meaning | Severity
SOUP_OK | Component fully documented. All fields populated, all refs resolve. | ✓ Clean
SOUP_NO_ANOMALY_EVALUATION | known_anomalies populated but anomaly_evaluation is blank. The exact IEC 62304 §7.1.3 audit finding. | ⚠ Warning
SOUP_NO_ANOMALIES_DOCUMENTED | Both known_anomalies and anomaly_evaluation are blank. Cannot confirm anomaly review was performed. | ⚠ Warning
SOUP_VERSION_UNKNOWN | version is 'unknown'. Cannot evaluate anomalies without a version. | ⚠ Warning
SOUP_NO_REQUIREMENT_LINKAGE | requirement_ids is blank. Orphaned SOUP — in the software but no requirement depends on it. | ⚠ Warning
SOUP_NO_TEST_LINKAGE | test_ids is blank. No test verifies this component's integration. | ⚠ Warning
SOUP_UNRESOLVED_REQUIREMENT_REF | requirement_ids references an ID not found in the Requirements tab. | ⚠ Warning
SOUP_UNRESOLVED_TEST_REF | test_ids references an ID not found in the Tests tab. | ⚠ Warning
SOUP_MISSING_REQUIRED_FIELD | component_name or version is blank. Row skipped entirely. | ✗ Error
STANDARD-SPECIFIC NOTES
IEC 62304:2006+A1 | §8.1.2 requires identification of all SOUP items used in the medical device software. §7.1.2 requires that known anomalies in SOUP be evaluated for their potential to cause a hazardous situation. §7.1.3 requires documented evaluation of published anomaly lists. This template satisfies all three clauses. The known_anomalies and anomaly_evaluation columns are the evidence auditors check. Safety class (A/B/C) determines verification depth: Class C SOUP requires the most rigorous anomaly evaluation and integration testing.
ISO 13485:2016 | §7.5.6 (validation of processes) extends to software tools and components used in the device. SOUP items are treated as purchased product under §7.4 — you must have evidence of evaluation. Use this template alongside the RTMify Risks tab to document ISO 14971 risk assessment of each SOUP item.
DO-178C | DO-178C does not use the term 'SOUP' — it uses 'COTS software' and 'previously developed software'. §12.3.1 requires that COTS software be qualified to the same DAL as the system it integrates into, or its use must be justified. Use DAL (A–E) in the safety_class column. Consider DO-330 tool qualification if the SOUP item is used in the verification toolchain.
ISO 26262:2018 | Part 8 §12 covers software components qualified for use in safety-related systems. ASIL decomposition applies: SOUP used in an ASIL D function must be qualified to ASIL D or mitigated. Use ASIL (QM/A/B/C/D) in safety_class. ISO 21434 (cybersecurity): open-source components require TARA — note cybersecurity findings in known_anomalies.
AS9100 Rev D | §8.4 (Control of externally provided processes, products and services) applies to COTS and third-party software. Evaluation of external software providers is required. Use this template to document the evaluation and maintain traceability from COTS software to design outputs (§8.3.4).
Automotive SPICE | SWE.1 (Software Requirements Analysis) and ACQ.4 (Supplier Monitoring) require documented evaluation of third-party software. For CL2+ assessments, bidirectional traceability must include SOUP items: each SOUP traces to requirements it satisfies and tests that verify its integration. The requirement_ids and test_ids columns provide this linkage.
GENERATE A SOUP REGISTER FROM THIS FILE
Download the RTMify binary at RTMify.io → Drop this .xlsx file on it → Get a PDF, Word document or Markdown SOUP register you can include in your QMS documentation. Nothing leaves your machine. No account, no upload, no IT ticket.
KEEP IT CURRENT AUTOMATICALLY
Connect this sheet to RTMify Live (read-only sync). Live reads your SOUP register every 30 seconds and builds the traceability graph: SOUP component → requirement → test → test execution. Ask via MCP: 'Which SOUP items have no anomaly evaluation? Which have no test coverage? Are we ready for audit?' Teams with CI/CD-generated SBOMs: drop your CycloneDX or SPDX JSON into the RTMify Live inbox. Same graph, automated path. RTMify.io

## SOUP Components
component_name | version | supplier | category | license | purl | safety_class | known_anomalies | anomaly_evaluation | requirement_ids | test_ids | Notes
FreeRTOS | 10.5.1 | Amazon/AWS | RTOS | MIT | pkg:github/FreeRTOS/FreeRTOS-Kernel@10.5.1 | C | None known as of 2026-03-01. Reviewed FreeRTOS security advisories. | No open anomalies. Evaluated against FreeRTOS security advisory page. | REQ-001, REQ-012 | TG-001 | Core scheduler for all firmware tasks. Configured with configUSE_PREEMPTION=1.
STM32 HAL | 1.28.0 | STMicroelectronics | Driver | BSD-3-Clause | pkg:generic/STM32CubeF4@1.28.0 | C | Errata ES0392 Rev 7: I2C NACK not generated in some conditions. STM32F407 silicon errata. | Mitigated — I2C peripheral not used in this product. SPI and UART only. No impact on safety functions. | REQ-001, REQ-047 | TG-001, TG-007 | HAL and LL drivers for STM32F407. Only GPIO, SPI, UART, TIM modules enabled.
mbed TLS | 3.5.2 | Arm / TrustedFirmware | Library | Apache-2.0 | pkg:github/Mbed-TLS/mbedtls@3.5.2 | B | CVE-2024-28960: side-channel in RSA private key operations. Fixed in 3.5.2. | This version includes the fix. Verified against advisory MBEDTLS-2024-0001. No residual risk. | REQ-088 | TG-012 | Used for TLS 1.2 client in cloud telemetry path. Not in patient data path.
zlib | 1.3.1 | zlib.net | Library | Zlib | pkg:generic/zlib@1.3.1 | A | None known. Reviewed NVD for 'zlib 1.3' — no open CVEs. | No anomalies to evaluate. Class A software item — no safety impact. | REQ-055 |  | Compression for firmware update payload. Decompressor only, no compressor built.
LittleFS | 2.9.3 | github.com/littlefs-project | Library | BSD-3-Clause | pkg:github/littlefs-project/littlefs@2.9.3 | B | Issue #945: potential data loss on power failure during write with wear leveling. Open. | Accepted — configuration log is non-critical and regenerated from defaults on corruption. Not used for safety-critical data storage. Documented in RSK-204. | REQ-033 | TG-005 | Flash filesystem for configuration storage. 4KB block size, 128KB partition.
printf | embedded-custom | github.com/mpaland/printf | Library | MIT |  | A | None known. | No anomalies. Diagnostic output only. |  |  | Lightweight printf for debug UART. No requirement linkage — diagnostic only, not in production firmware.
lwIP | 2.2.0 | Savannah/GNU | Library | BSD-3-Clause | pkg:generic/lwip@2.2.0 | B | CVE-2023-36321: heap buffer overflow in DNS response parsing. CVE-2024-0001: TCP ISN predictability. |  | REQ-070, REQ-071 | TG-008 | TCP/IP stack for Ethernet connectivity. ANOMALY EVALUATION MISSING — complete before design review.
Segger emWin | unknown | SEGGER Microcontroller | Library | Proprietary |  | B | Version not tracked. Cannot evaluate anomalies without version. | Cannot evaluate — version must be determined and anomaly list reviewed. | REQ-090 | TG-010 | GUI framework for display module. VERSION MUST BE DETERMINED.